## Sheet1
How to connect Lithium battery and PC
1.Preparation and tools needed:
①.PC |  | ② | ④
②.Has 485 communication function battery
③.PmodbusTools V1.3.1
④.USB to BMS485 communication line |  | ⑤
⑤.Internet cable
2.Connect the Internet cable to the communication line
①.The Internet cable number is 12345678 from left to right ②.The interface between a communication cable and a network cable |  | ① | ②
As shown in the picture Connect 1 and 8 to rs485-b (on connector) Connect 2 and 7 to rs485-a (on connector) The remaining four are not used
3.Start and connect the battery to the PC
①Turn on the protective panel switch (long press) and air switch on the battery ②Connect the USB port of the communication cable to PC ③Connect the network cable to the battery |  | ① | ①
|  | ② | ③
4.Install and run the software on your PC, and you'll be able to observe the battery's status.